## Analysis Results
Customer Name | Service Type | Manager - Tech - Duration | Score | Marked Ready | Action Items | Spelling Rank (1-3) | Water Sample | Chlorine Range | Chlorine Added | CYA Range | Phosphate Range Untreated | Color And Condition | Filter Pressure | System Primed | Followup | Items added to inventory? | Note Followup Criteria | Manager
Bruce Aldrich | Opening Package - 4 Visits | Alex - Noah - 37 | 4 |  | Filter Pressure: Fail, Items added to inventory?: Fail, Note Followup Criteria: Fail, Chlorine Added: Fail | 3 |  | Low Chlorine | Fail | Pass | NA | Fail - Can't See Floor, Green | Fail | Pass | Pass | Fail | Fail | Alex
Regina Britt | Opening Package - 4 Visits | Alex - Alex - 43 | 1 |  | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Low and Adjusted | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Fail | Alex
Robin Eggers | Service Call | Alex - Alex - 60 | 1 |  | CYA Range: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Pass | Alex
Deborah Hummel | Opening Package - 4 Visits | Alex - Noah - 34 | 1 |  | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | High CYA | Pass | Fail - Green Hue | Pass | Pass | Pass | Pass | Fail | Alex
Stuart Hunter | Opening Package - 4 Visits | Alex - Noah - 73 | 1 |  | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | High CYA | NA | Fail - Dull and or Cloudy, Green | Pass | Pass | Pass | Pass | Fail | Alex
Julie (Harmon) and Chris Kloth | Opening Package - 4 Visits | Alex - Noah - 57 | 1 | Yes | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Pass | Pass | Fail - Dull and or Cloudy, Green | Pass | Pass | Pass | Pass | Fail | Alex
Chloe Siens-Nunez | Opening Package - 4 Visits | Alex - Alex - 15 | 1 |  | Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Fail | Alex
Kevin Thompson | Opening Package - 4 Visits | Alex - Alex - 41 | 1 |  | CYA Range: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Pass | Alex
Joe Alutto | Opening Package - 4 Visits | Alex - Alex - 49 | 0 |  |  | 3 |  | Low Chlorine | Pass | Low and Adjusted | NA | Fail - Barely See Floor, Green | Pass | Pass | Pass | Pass | Pass | Alex
Eden Springs Apartment | Comm. Opening 1st visit | Alex - Alex - 25 | 0 | Ready |  | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Alex
Stacy Scudder | Labor - Followup Visit | Alex - Noah - 34 | 0 |  |  | 3 |  | Pass | Pass | NA | NA | NA | Pass | Pass | Pass | Pass | Pass | Alex
Furkhan Ahmed | Opening Visit Package 3 of 4 | Quentin - David - 73 | 2 |  | CYA Range: Fail, Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Fail | Pass | Fail - Dull and or Cloudy | Pass | Pass | Pass | Pass | Fail | Quentin
Rodd Carmean | Opening Visit Package 3 of 4 | Quentin - David - 53 | 2 |  | CYA Range: Fail, Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Fail | Pass | Pass | High Pressure | Pass | Pass | Pass | Fail | Quentin
Robin Cheek | Opening Visit Package 3 of 4 | Quentin - Nate - 32 | 2 |  | CYA Range: Fail, Chlorine Added: Fail, Water Sample: Sample to Test | 3 | Sample to Test | Low Chlorine | Fail | Fail | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Quentin
Dana Farbacher | Opening Visit Package 3 of 4 | Quentin - David - 54 | 2 |  | Items added to inventory?: Fail, Note Followup Criteria: Fail, Water Sample: Sample to Test | 3 | Sample to Test | Pass | Pass | Pass | Pass | Fail - Can't See Floor | Pass | Pass | Pass | Fail | Fail | Quentin
Jennifer West | Opening Package - 4 Visits | Quentin - Luke - 53 | 2 |  | CYA Range: Fail, Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Fail | Quentin
Tracy (Febus) Ysasi | Opening Visit Package 2 of 4 | Quentin - David - 42 | 1 |  | Note Followup Criteria: Fail | 3 |  | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Fail | Quentin
Bo Adair | Opening 1 Visit Only | Quentin - Quentin - 60 | 1 |  | CYA Range: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Pass | Quentin
Stacey Garn | Opening Visit Package 3 of 4 | Quentin - Luke - 36 | 1 |  | Note Followup Criteria: Fail, Water Sample: Sample to Test | 3 | Sample to Test | Low Chlorine | Pass | Low and Adjusted | Pass | Fail - Barely See Floor | Pass | Pass | Pass | Pass | Fail | Quentin
Jessica and Nick Gesue | Opening 1 Visit Only | Quentin - Quentin - 50 | 1 |  | Note Followup Criteria: Fail, Water Sample: Sample to Test | 3 | Sample to Test | Low Chlorine | Pass | Pass | NA | Pass | NA | Pass | Pass | Pass | Fail | Quentin
Jake Guthrie | Liner - Chemical Adjustment | Quentin - Nate - 34 | 1 |  | CYA Range: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Pass | Quentin
Leanna Haas | Cleaning - Recovery Service | Quentin - Luke - 30 | 1 |  | Note Followup Criteria: Fail, Water Sample: Sample to Test | 3 | Sample to Test | Pass | Pass | Low and Adjusted | Pass | Fail - Green | Pass | Pass | Pass | Pass | Fail | Quentin
Christine Johnson | Opening Package - 4 Visits | Quentin - Luke - 73 | 1 |  | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Low and Adjusted | NA | Fail - Dull and or Cloudy | Pass | Pass | Pass | Pass | Fail | Quentin
Matthew Milcetich | Opening Visit Package 4 of 4 | Quentin - Nate - 32 | 1 |  | CYA Range: Fail | 3 |  | Pass | Pass | Fail | NA | Pass | Pass | Pass | Pass | Pass | Pass | Quentin
Susan Miller | Opening - Follow-Up Visit | Quentin - Nate - 5 | 1 |  | Items added to inventory?: Fail | 3 |  | High Chlorine | Pass | High CYA | Pass | Pass | Pass | Pass | Pass | Fail | Pass | Quentin
Dawn Powell | Opening Visit Package 3 of 4 | Quentin - David - 57 | 1 |  | Note Followup Criteria: Fail, Water Sample: Sample to Test | 3 | Sample to Test | High Chlorine | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Fail | Quentin
Mike Rodriguez | Opening 1 Visit Only | Quentin - Quentin - 67 | 1 |  | CYA Range: Fail | 3 |  | Low Chlorine | Pass | Fail | NA | Fail - Can't See Floor, Green | NA | Pass | Pass | Pass | Pass | Quentin
Rob Vargo | Opening Visit Package 2 of 4 | Quentin - Nate - 24 | 1 |  | Note Followup Criteria: Fail | 3 |  | Low Chlorine | Pass | Pass | Pass | Fail - Can't See Floor, Green | Pass | Pass | Pass | Pass | Fail | Quentin
Jeannie Zox | Admin-Water Testing | Quentin - Quentin - 2 | 1 |  | Chlorine Added: Fail | 1 |  | Low Chlorine | Fail | Pass | Pass | Fail - Can't See Floor | NA | Pass | Pass | Pass | Pass | Quentin
Andrew Holt | Hourly Labor | Quentin - Luke - 40 | 0 |  |  | 3 |  | Pass | Pass | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Quentin
Amy Kerr | Cleaning - Bi-weekly - Salt Pools | Quentin - Nate - 33 | 0 |  | Water Sample: Sample to Test | 3 | Sample to Test | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Pass | Quentin
Maggie Kuhn | Opening Package - 4 Visits | Quentin - Quentin - 77 | 0 |  |  | 3 |  | Low Chlorine | Pass | Low and Adjusted | NA | Fail - Green | Pass | Pass | Pass | Pass | Pass | Quentin
Ryan Lauer | Opening Visit Package 3 of 4 | Quentin - Nate - 46 | 0 |  |  | 3 |  | Low Chlorine | Pass | Low and Adjusted | Pass | Fail - Can't See Floor | Pass | Pass | Pass | Pass | Pass | Quentin
Alise Murray | Cleaning - Bi-Weekly - Chlorine Pools | Quentin - Luke - 24 | 0 |  | Water Sample: Sample to Test | 3 | Sample to Test | Low Chlorine | Pass | Pass | Pass | Fail - Can't See Floor | Pass | Pass | Pass | Pass | Pass | Quentin
Kenneth Scott | Opening 1 Visit Only | Quentin - Quentin - 45 | 0 |  |  | 3 |  | Low Chlorine | Pass | Low and Adjusted | NA | Pass | Pass | Pass | Pass | Pass | Pass | Quentin
Jason and Evelyn Smith | Opening Visit Package 3 of 4 | Quentin - Luke - 21 | 0 |  |  | 3 |  | High Chlorine | Pass | High CYA | NA | Pass | High Pressure | Pass | Pass | Pass | Pass | Quentin
Rob and Johanna Williams | Opening Visit Package 3 of 4 | Quentin - Nate - 57 | 0 |  | Water Sample: Sample to Test | 3 | Sample to Test | Pass | Pass | Pass | Pass | Fail - Dull and or Cloudy | Pass | Pass | Pass | Pass | Pass | Quentin
Andrew Cooper | Liner - Followup Visit | Z - Other - Marcus - 1440 | 2 |  | Followup: Fail, Note Followup Criteria: Fail | 3 |  | Pass | Pass | NA | NA | NA | NA | Pass | Fail | Pass | Fail | Z - Other
Ian Schwind | Service Call | Z - Other - DJ - 6 | 2 |  | Followup: Fail, Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Fail | Pass | Fail | Z - Other
Danny Stowe | Hourly Labor | Z - Other - DJ - 14 | 2 |  | Items added to inventory?: Fail, Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Fail | Fail | Z - Other
Ken Lambert | Liner - Quote | Z - Other - DJ - 26 | 1 |  | Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Fail | Z - Other
Wilson Pleitez | Liner - Quote | Z - Other - DJ - 1 | 1 |  | Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Fail | Z - Other
Romine Premier Pool | Hourly Labor | Z - Other - DJ - 3 | 1 |  | Note Followup Criteria: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Fail | Z - Other
Christina Queen | Liner - Quote | Z - Other - DJ - 12 | 1 |  | Items added to inventory?: Fail | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Fail | Pass | Z - Other
Joe and Gina Benson | Hourly Labor | Z - Other - DJ - 6 | 0 |  |  | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Z - Other
Len Cistone | Service Call | Z - Other - DJ - 18 | 0 |  |  | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Z - Other
David and Kathy Gerlach | Hourly Labor | Z - Other - DJ - 7 | 0 |  |  | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Z - Other
Barbara Mays | Hourly Labor | Z - Other - DJ - 25 | 0 |  |  | 3 |  | NA | NA | NA | NA | NA | NA | Pass | Pass | Pass | Pass | Z - Other

## Original Data
Customer Name | Customer Last Name | Customer First Name | Service Type | Duration | Start Time | End Time | Service Status | Private Notes | Customer Notes | Tech 1 First Name | Tech 1 Last Name | Tech 2 First Name | Tech 2 Last Name | Vacuum | Skimmer Baskets | Skim | Brush | Clean Filter | Reload Feeder | Clear Deck | Water Condition Reading | Water Color Reading | Alkalinity Reading | Free Chlorine Reading | pH | pH Drops Reading | Calcium Reading | Phosphorus Reading | Cyanuric Acid Reading | Salt Level | Water Temperature | Combined Chlorine | Total Dissolved Solids | Water Level | Filter Pressure | Items Used | Billing Status | Pool is NOT SAFE to Swim | If hose is on, did you turn off? | Chlorinator set to: | System Check | Liquid Shock Loaded | Liquid Shock Unloaded | Shock Loaded | Shock Unloaded | Alkalinity Loaded | Alkalinity Unloaded | pH Up Loaded | pH Up Unloaded | pH Down Loaded | pH Down Unloaded | Calcium Loaded | Calcium Unloaded | Stabilizer Loaded | Stabilizer Unloaded | Chlorine Tabs Loaded | Chlorine Tabs Unloaded | Salt Bags Loaded | Salt Bags Unloaded | Algaecide Loaded | Algaecide Unloaded | Floc Loaded | Floc Unloaded | Phosphate Remover Loaded | Phosphate Remover Unloaded | Clarifier Loaded | Clarifier Unloaded | Parts Box Full | Tools Vacuums and Equipment Loaded | Beginning Mileage | Ending Mileage | Repair Parts, Sold Items, and Other Chargeable Parts | Supplies Needed | Battery On Charger | Chemicals Unloaded and Weighed | Hoses Hanging and Organized | Hammerhead Cord Wrapped Neatly | Superpump in Correct Lane | Chems in Your Lane and Organized | Parts Bins Restocked | Truck and Truck Bed Cleaned | Gas Tank Level | End Of Day Mileage | Clock Out | Sweep Spilled Chemicals | Trash Is Taken Out | Chem Kits are Clean and Reloaded | Binders In Truck and Organized | Chlorine Jug Caps Are In Good Shape | Superpump Baskets are Clean | Skimmer Net is Clean | All parts needed to complete job? | Did you use parts that need to be replenished? | Pictures taken of repair/serial numbers | "Other" parts mentioned in private notes | Heater | heater | pump | Pump | filter | Filter | pool deck | Pool Deck | pool walls and floor | Pool Walls and Floor | skimmer and returns | Skimmers and Returns | main drain | Main Drain | additional equipment/features | Additional Equipment/Features | plumbing above ground level | Plumbing Above Ground Level | pool light | Pool Light | ladders and handrail, slide | Ladders and Handrail, Slide | winter cover | Winter Cover | water chemistry | Water Chemistry | Skimmer Blown Out | Main Drain Blown and Locked | Gizmos free of leaks | pH and Chlorine adjusted | Algaecide added | Calcium Added | Picture of system plugs? | Unions from salt cells and UVs in pump basket | water lowered | waste line blown out | heater off and gas line shut | antifreeze added to skimmers | antifreeze in heat pumps and heat pumps plugged | all returns free of leaks | All Electric Turned Off | All straps secured on anchors | ladders and handrails stored | Pool is Covered | skimmer baskets and supplies in cover bag | salt cell mentioned to take inside in notes and where it is located | multiport set to winter | filter cartridges replaced in filter after winterizing | Chlorinator disconnected and upside down | system blown out | Parts needing to be replenished | water lowered prior to arrival | Waste line blown out | Returns blown out and plugged | heater plug | filter pressure gauge | pressure gauge in heater | sight glass | bottom filter cap | front and side pump plugs | salt cell acid cleaned | Filter Plug Pulled | Vacuum (if completed) added into inventory | Salt cell Cleaning (if completed) added into inventory | Filter Cartridges Cleaned (if completed) added into inventory | Water lowered by homeowner (if completed) added into inventory | Hot Tub Winterized (if applicable) added into inventory | Plumbing Labeled with Sharpie | 5 gallons of liquid shock added | Pull all returns and skimmer baskets | Set system to waste, close skimmer valve | Set up vac to waste and drain to street | Drain spa (if applicable) | Lay cover out on one end and the correct way | set corner straps on corner anchors | pull up all anchors besides where the cover is | install new anchors if needed | new anchors mentioned in inventory if used | Remove filter cartridges and put by filter | remove deck laminars (if applicable) | fill water bags and place around pool (if tarp cover) | New water bags mentioned in inventory (if applicable) | Pool was Closed Prepped Already | Close All Valves | O-rings from Salt cells and UV in pump basket | Picture of Equipment in Profile | chlorinator/salt cell set to: | Pump Serial Number | Heater Serial Number | UV Serial Number | Filter Serial Number | Multiport Serial Number | Chlorinator Serial Number | Size of plumbing | Part(s) Needing to Be Replaced | Installation Date | Error Code on Piece of Equipment | Problem Description | Work Performed | Is the system bonded? | Was tech support used? | All Model #s uploaded into customers profile | failure date | Ware House Duties | Water added if low | Photo of automatic cover hatch (if applicable) | Volume checked and accurate? | Size of gas line and distance from meter added to software | Photos of anything that may need repaired | Rest of cover is removed (only if system is running) | plugs and gizzmos pulled | return eyeballs are installed correctly | any loose anchors are in plastic baggy in cover bag | Chlorinator installed correct way? | cover is FANFOLDED and Stored | Safety Cover Evaluation: Photos Taken if necessary | Anchor Evaluation: Stripped/Need to Drill new ones | ONLY Shock, Alkalinity, and Stabilizer Added | shock added at 1.5 times what Software recommends | CYA targeted at 50PPM | System left on "filter" | Cover removed halfway | Ladders and Handrails Installed | If automatic cover/water sitting on cover, pump water off cover | remove all leaves from cover before taking off | System Info Added to Customer Profile | Rubber plugs pulled and return fittings installed | Gizmos pulled and skimmer baskets installed | Volume is accurate in customer profile | If vacuum performed - added into 'Items' | Zip Tie Location In Customer Profile | If water needed pumped off, 'Additional Labor' added to 'Items' | Power to the System | Salt Pools: Salt Cell System Checked and Generating? | Salt Pool: No error codes on system | Salt Pool: Salt Cell Cleaned (only when marked mandatory) | Checked for Clogged Skimmers or Main Drain | Chlorinator Tested | Increase speeds on VS pump / Pump running long enough during daylight? | check for clogged impeller | All valves open and pulling water equally? | LSI within +/- 0.2? | All other chemicals in range? | IF Large amount of debris on main drain.. <30 minutes to clean | Treated with the correct algaecide? | Floc? | Contact Manager | phosphates adjusted? | Cover is fanfolded | Cover is stored with gizzmos and all extra equipment in cover bag | Dogs in Backyard | Could not access pool | Above Ground Plumbing/System Issues | Water on Automatic Cover | Call manager | Other Reason for not being able to complete service | Photos taken for NO SERVICE reason | System Info and Pictures are accurate and in the software | Did You Complete Warehouse Duties | Clean Bathroom | Sweep and Mop office/bathroom | Sweep Warehouse | Take Out Trash | Clean Chem Bags | Baseboards Cleaned | Equipment Wiped Down (WD-40) | Orange Chem Scoops Cleaned | Waste Buckets Cleaned | Trucks Washed | Clean and Swap Impellers | Clean Hammerhead | Fill Testing Chemicals | Picture of pool taken | System Off, Plumbing disconnected at unions or plumbing cut | Filter Bracket Disconnected | Filter cap pulled | Multiport taken off and checked for structural issues | Water vacuumed out of filter | sand vacuumed out of filter | 5 gallons of water added to filter before sand added | Lateral aligned in the center of filter and multiport checked for correct fit | glove on top of lateral to ensure no sand entering lateral assembly | all sand added to filter | filter plug installed | Filter wiped down and all gaskets lubed on multiport and unions | multiport on filter, unions reattached at plumbing and snug fit | filter bracket installed | multiport set to backwash and pump started | system set to filter and started | returns checked for sand coming out | lateral inspected for damage | Pool is "NOT" Safe to Swim in | Gate is closed and locked | Office organized, chairs aligned, wiped down, nothing sitting around | Breakroom: No trash, food put away, surfaces wiped down, fridge cleaned | Toilet paper and paper towel restocked if low | Everything has been wiped down with Lysol | Organize equipment, toolbags, chem buckets, and hoses | shelves are organized and everything in its place | in front of the man door in the back is clean and organized | No trash on the ground or on tables | Check for Nails/Screws around the doors and dumpster | Trash picked up from around the dumpsters | Air pressure in tires checked and added if needed | vacuum inside of trucks, all trash out, tools, etc. | clean interior windows with glass cleaner | RainX exterior windows | Dash wiped down | Check phone and bluetooth charger are working and in truck | Gas Card in truck | check battery clips, note, or replace as needed (yellow connector secured on clips) | Clean Hammerhead impellers, inspect and make note if the wheels or impellers are chipped | All gaskets are good on pump, basket is clean and replaced if broken | Clean Superpump impeller thoroughly, make note if needs replace, make sure shaft seal is good | Wires are secured and none showing | Did you clock in? | Do you know which truck you are riding in? | Any issues with trucks? | Car Charger, Bluetooth and Charger, Gas Card | Equipment: Both Vacuums, hammerhead bags, vac hoses, vac head, vac attachments, waste hose, battery, poles, skim net, brushes | Chems: Alk, Calcium, shock, muriatic acid, pH up and down, stabilizer, tabs | Bottled Chems: Clarifier, Algaecide, Phosfree, Pool Perfect, Metal Out, Floc | Scoops, waste bucket, trash bucket | Chem test kit: Filled, spa scoops, phosphate testers, test strips, salt tester | Opening/Closing tote loaded | Toolbox loaded and Quick Tool bag check completed | Appointments have been checked for any special notes on parts needed? | Double check your truck and chems | Chem spills cleaned, trash picked up around warehouse and outside garage door | App is up to date | Meeting with Manager to discuss route and additional notes (Phone or in-person) | Any questions or concerns addressed | Check OHGO for traffic delays | Check weather | Requested time off communicated with manager (2 weeks advance) | If last person to exit warehouse, all doors are locked and garage door is shut | Parts bins reloaded | Chems reloaded | Battery on charger and on correct charger | Equipment unloaded, cleaned out, hosed out, and placed back in designated area | Any equipment have issues today? | Any tools missing today? | Any customers have concerns today that needs mentioned? | Any equipment, parts, tools, reagents, need to be ordered? | Truck wiped down, hosed out, and trash thrown out | Met with manager/called manager to see if anything else needs done? | Weekly warehouse work task completed? | picture of salt cell taken and uploaded to report | All 9 Chems Loaded | All Bottled Chems Loaded | Cleaning Equipment Loaded | Double check your truck based on Load Sheets | List the truck number, color and model you will be driving today | Water was lowered in the pool | Call Manager | Pole, Skim Net, Brushes | Heater is turned off at the toggle switch | If High Phosphates, Floc pool and leave on filter | Check for any leaks at the system | system plugs installed | Totes A-D Restocked and All items checked | Tote E items back in designated spots, if unused | Tool Bags and Toolkits reloaded as necessary | Additional PMs completed, as assigned | Totes A-E Loaded | Chem Test Kit - Full | Station is Completely Empty and Clean | Check for cover on Deck and Fold/Store | Salt Crystals/Calcium Phosphates present in pools? | VSP or Salt Conversion Candidate? | If Salt Crystals Present, pH adjusted to 7.2, scale free added and cell is clean | Call Manager if NOT Crystal Clear or CL is 1ppm or Less | Check pool is prepped, if not, use Closing W/ Prep template | All Returns Free Of Leaks | Count Of Reusable Rubber Plugs | Count Of Rubber Plugs Needed | Count Of Reusbale Gizzmos | Count Of Gizzmos Needed | Set Water Temperature to 40 Degrees for LSI | Pool was closed Green/Dirty | Liquid Shock On Truck | Poles on Truck | Is pump being run long enough, during Daylight? | Rough dimension of pool | Measurements taken of pool | If hopper radius is less than 12 can mark Squared on report | AB of pool, as necessary, and checked for errors on measuring app | Measurements of steps, as necessary | Bead Lock Checked | Number of returns | Type | Count of skimmers | Count of main drains | Count of lights | Integrity of Pool Light Ring | Additional counts | Count of Screws | Pics of pool taken | Pics of Faceplates Taken | Pics of Light Taken | Pics of measurements taken | Place to drain water | Adequate yard space for Bladder | Ease of access to pool | Gate Code | Light junction box located | Electrical outlets | Inspection of floor structure | Coping and liner track | Customer asked about any leaks that they know of | Signs of Leaks | Pool Equipment Checked | Possible upgrades | Ladders and Handrails | Textured Steps, if lined | Options with water delivery and filling pool | Show them colored fittings | Liner Samples left with customer | 50% deposit received | Turn off Equipment if Running | Setup Trash Pump and Start Draining Pool | Drain 5,000 Gallons into Bladder, if applicable | Unload Prep Items from Truck | Start Removing Faceplates - Keep screws in box | Clean Stairs with Acid mixture | Clean step faceplates, light ring, and other reusable items with liquid chlorine or acid | Clean inside of skimmers and coping using liquid shock | start removing liner, starting with slopes and floor first | Floor is cut and rolled, cutting around main drain, if applicable | Leave screws in main drain | Walls are cut and rolled, cutting around faceplates, if not removed | Pull light and leave sitting on pool deck | Take pictures of trouble areas | start with patch work, if applicable | tighten each screw on stairs and faceplates to ensure none are stripped. Mark the stripped screws | Hose down walls, skimmers, and stairs | Clean floor bottom | liquid shock on areas of algae, use deck brush | push broom and leaf blower for large debris and rocks | Use roll n' Vac for final cleanup | Rustoleum on Walls | Equipment left on sight and organized | Sump pump left in deep end of pool with power | Double Check Prep List | Pull light out with fish wire | All Faceplates Removed | New Gaskets on Skimmers | New Gaskets on Main Drain(s) | New Gaskets on Return(s) | Screw in top right of each fitting and in main drain, light, and stairs | Stair Screws: 2 on either side of stairs, 2nd from top on outside of stairs | Duct Tape wall sections and around skimmers | Spray Copper Algaecide over surface of Floor | Wall Foam on Walls, excess cut, fittings cut | Lay cover across pool in shallow end | Find corners then set sides | Duct Tape skimmers and stairs closed | Vacuum setup away from skimmers and openings, shallow end if applicable | Begin filling with hose and bladder | Install Main Drain Fitting | Fill pool with bladder, smoothing out wrinkles | Bottom strip of stairs first, then sides, starting from top and working down, ensuring pattern lines up at the coping | Cut out remaining fittings | Install Light | Liner Scraps Loaded onto Truck | Lay Liner across pool in shallow end | Clean Office and Breakroom | Clean Warehouse | Sink, Toilet, check for Toilet Paper, paper towels and soap | Organize tables, chairs, surfaces, food, coffee and desks | Organize equipment, shelves, skids, delivery area and anything on the ground not in the right or tidy place | Spilled Chems, Bottled Chems, Project Areas, PPE Shelf, Small Parts | Sweep and clean floors | Clean and sanitize reagent table | Pump Motors/Heat Exchangers | Check Air pressure in all truck tires, fill as needed | Wash truck, vacuum inside | Check IN Truck Load Items | BIWEEKLY: Waxed(monthly), deep clean of interior, RainX on Windows | Clean chemistry kits with CLR, fill reagents, Chem Kit Load Items List | Check hammerheads, batteries, battery clips, and cord. Remove impeller and clean | Pump impellers, baskets and gaskets are cleaned. Electrical connections, vacuum wheels and attachments are in good condition | Extension cords free of knots and connections secure. | Check Fluid levels: Coolant, windshield, brake, oil, tires filled to 35psi, windshield wipers and any issues with trucks are noted | First Aid Kit is fully stocked | Deep clean tool bag and tool kit | Clean out service totes A-E | Note any other items/tasks/supplies needed or to be addressed to improve service | TOTES L1-L5 are clean, fully stocked, and nothing extra in totes.If extra items, consult with manager | Bladder Tote cleaned, hoses wrapped nicely, fittings WD40 | Brushes (2): Free of sharp edges, bristles in good condition, pole connection in good condition. | Vacuum Hoses: Free of any kinks or defects. Firehose connections are good and no holes in firehose WD 40 on firehouse connections | Pool Poles: Checked for locking ability. Metal part is free of any sharp edges | Skimmer Nets: Free of holes, fully cleaned, free of sharp edges | List of Snack items running low on DJ’s Desk | Complete Preventative Maintenance List | Clean Service Stations | Check battery clips, hammerhead battery and charger, extension cords, power strip, drill charger, eyelet hooks and hangers, pole holders | Beadboard Tools organized neatly. Brought off hangers and cleaned, free of dirt and chemicals | Plumbing Completely organized and fittings are in correct areas | Extra cleaning equipment shelf is Completely organized and equipment is in correct areas | Parts shelf is Completely organized and parts are in correct areas | PPE Shelf is Completely organized and equipment is in correct areas | Inspect Tire Tread | Check Pressure | Slack Manager if not clear, then call after going through checklist | Salt Loaded | Battery is Secure | Set Water Temp to 50 degrees for LSI | Change Template to Accurate Daily Task | Customer Contacted Immediately if Pool Needs Vacuumed | Cars are Parked in OUR designated Areas | Water Sample collected to be Tested at Warehouse | Limitations (items that we can not inspect) | Customer Contacted Immediately | Returns Type | Skimmer Type | Main Drain Type | Light Type and Manufacturer | Sand Bottom? | Number of Bladders | Algae Pool Cleaning Template Used | Not Clearing Template Used | Evaluate Wear on Brake Drum | Brake Pad and Rotor Inspection | Entir Body Inspected, note any new blemishes | Side Mirrors | WD-40 on Bed and Door Hinges | Headlights | Brake Lights | Hazards | Turn Signals | Wiper Blades | Truck needs Washed? | Inspect for Running Leaks | Visible Damage to Engine | Any Sounds? | Oil Level | Coolant Level | Washer Fluid Level | Inspect Running Belt Operations | Check Hoses for Leaks | Any disconnected hoses? | Exhaust System Manifold | Inspect Tailpipes and Muffler for Damage | Power Steering Belt | Power Steering Fluid | Power Steering Pump | In Truck Load Items | Trash removed | Radio and Speakers | Charging Ports | Windows | Any Damaged Parts inside the truck? | Check to make sure all electrical is off | The gas line is off | Disconnect the electrical (including the bonding wire) | Disconnect plumbing (as needed) | Disconnect gas plumbing from the heater using pipe wrenches. | Install New Heater (Gas Line, Electrical, Plumbing) | Get Soapy water and check all connections for bubbles | Check Gas Pressure (Static and While Running) | Let Heater run for 5 minutes | Upload Heater info into customers' software information and take photo of Serial Number | Install Check Valve after the Heater and before the chlorinator, if needed. | Confirm the correct motor and Shaft Seal | FOR NEW PUMP INSTALLATIONS | Place the new pump in the pump area | Test Voltage of Wires | Replace Wire Connectors as Needed | Install new electrical according to wire diagram and voltage | The pump is Bonded | New plumbing is completed, as needed | The pump is primed and running, leak-free | FOR MOTOR INSTALLATIONS | Remove Diffuser | Remove Impeller | Check Impeller, diffuser, and seal plate for any damage | Lube all gaskets | Install a new shaft seal on the seal plate and the impeller | Install Seal Plate | Install Impeller | Install Diffuser | Install Motor onto Pump Volute | Upload Pump info into customers' software information and take a photo of the Serial Number | Windex Windows | Wipe Down All Surfaces | Truck Bed is Emptied | Truck Bed is Rinsed and Scrubbed | Rinse Truck with Water | Soap in Bucket and Scrub Truck | Rinse Truck again | Spray Tire Cleaner on Tires and Rims | Wax Truck EVERY MONTH | Scrub Tires, Rims, and Wheel Well | Sample Collected if Water was Not Clear Last Visit | All Large Debris has been removed from the Pool? | Residual Chlorine Reading? | Algae Pool Cleaning Template has already been completed | Water Has been Collected and tested at the warehouse | The customer has been asked about any tasks they are doing while we are not there | Pool has been treated according to the water test at the warehouse | Pool has been floc’d? | Revive Treatment has been discussed with the homeowner | Revive Treatment has been approved? | Possible Sand Change or Filter Cartridge Replacement discussed with the homeowner | Manager’s provided steps moving forward | Water Test Compared to Pool Readings | Metals in the Water? | Types of Metals? | Plan for next Visit | Water Sample Disposed | The vial is Clean and Ready to Go back onto Truck | IF Follow-up for Chemical Testing and Adjustments, grab Water Sample for Testing | Pool Area and Equipment Area is Double Checked for All Tools, Skimmer Plugs, and no Power | If 5+ PSI Higher than last visit, backwash filter | Selector Plug is Accurate to Correct Voltage on Pentair Heaters | Brakes | Transmission Fluid | Brake Fluid | Battery Corrosiono | IF you cannot see the shallow end of the pool and the pool was shocked go to Algae Pool Cleaning Template | Suspended Particles | Brown/Mud on Floor | Phosphates >1000ppm (Failed red cap test) | CYA <30ppm | Water Level too low or cannot run the pump | If 2 or more of the criteria or above are correct, do not super shock the pool. Call the manager if unsure. | Final Walk Around of Pool | Add maintenance dose of phosphate remover | IF 1-Visit ONLY opening, add maximum 6 tabs to chlorinator | IF 4th Visit Opening, Reload Feeder | Picture of pump and skimmer basket | Chlorinator | Salt Cell | Water Sample Collected | Chlorine 1 or Less (Call Manager) | Bring Back Salt Water Sample | Clean Filters | IF Adding Phosphate - TESTS | Heater On-Site | Main Drain Blow and Locked | Waste water below the skimmer, if mesh | Safety Cover Evaluation | Quote for Safety Cover | Did you use the hose | Did you shut off the hose | Add to Chemistry Chat if CL Under 2 | Chlorine <1ppm | Picture of Santiizer | Picture of Backwash/Filters | Picture of Pool with Cover on | ITEMS FOR SPRING | Items Needed for Closing | Cover Pump placed back onto cover | Photo of Test Strip | Heater fired with no issues | NOTICE! Your water chemistry is severely out of range. We recommend additional chemical adjustments | Safety Cover Condition | Notify Sales to Contact Customer | Call Type | Water Samples | system primed and running
Tracy (Febus) Ysasi | (Febus) Ysasi | Tracy | Opening Visit Package 2 of 4 | 42 | 05/13/2025 07:58 am | 05/13/2025 08:40 am | Complete | Today we completed the next visit of your opening package. We vacuumed, brushed, and adjusted chemicals as needed. Thank you, have a great day! | Today we completed the next visit of your opening package. We vacuumed, brushed, and adjusted chemicals as needed. Thank you, have a great day! | David | M |  |  | Vacuumed | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Blue | 70 | 6 | 7.6 |  | 280 | 0 | 60 |  | 73 |  | 200 | Good | 5 | 7 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | 40 | [25 empty] | TRUE | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | TRUE | TRUE | TRUE | [20 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [286 empty] | NO | Did not use hose |  |  | TRUE | [6 empty] | Yes - No Issues | [5 empty] | Yes
Bo Adair | Adair | Bo | Opening 1 Visit Only | 60 | 05/13/2025 10:47 am | 05/13/2025 11:47 am | Complete | Today we opened the pool and installed the intake valves and skimmer basket. We also tested chemicals and added them accordingly as well as start the system and fix the heater. Thank you and have great day! | Today we opened the pool and installed the intake valves and skimmer basket. We also tested chemicals and added them accordingly as well as start the system and fix the heater. Thank you and have great day! | Quentin | H | Avery | J | No Vacuum | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Can't See Floor | Green | 40 | 0 | 8 |  | 250 |  | 20 |  | 65 |  | 200 | High and pumped down | 16 | 10 (Chem: Granular Shock (lb)) 10 (Chem: Alkalinity (lbs)) 10 (Chem: Calcium Increaser (lbs)) 1 (Service: Opening Heater Cleanout) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | FALSE | [5 empty] | TRUE | TRUE |  | TRUE |  | TRUE | TRUE |  |  | TRUE |  | TRUE | [41 empty] | TRUE | [19 empty] | TRUE | [65 empty] | TRUE | [269 empty] | TRUE |  | Chlorinator did not load | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | YES | [5 empty] | Yes - No Issues | [5 empty] | Yes
Furkhan Ahmed | Ahmed | Furkhan | Opening Visit Package 3 of 4 | 73 | 05/13/2025 08:51 am | 05/13/2025 10:04 am | Complete | Today we completed the next visit of your opening package. We vacuumed, brushed, skimmed, and adjusted chemicals as needed. Unfortunately, we had to close the skimmer valve because the water level became too low during the cleaning. We also discovered a small leak in the plumbing, and will send someone to repair it. Thank you, have a great day! He Mentioned that he would like the heater and the main drain cover fixed, he said he would send an email about it. Small leak in something that I don t recognize (see picture) Salt cell may have a bad chord, says flow error and is flashing lights, was off when I got there, but had good salt. | Today we completed the next visit of your opening package. We vacuumed, brushed, skimmed, and adjusted chemicals as needed. Unfortunately, we had to close the skimmer valve because the water level became too low during the cleaning. We also discovered a small leak in the plumbing, and will send someone to repair it. Thank you, have a great day! | David | M |  |  | Vacuumed To Waste | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | Dull and or Cloudy | Blue | 110 | 0 | 7 |  | 200 | 0 | 0 | 3600 | 62 |  | 200 | Low and needs more water | 20 | 5 (Chem: Granular Shock (lb)) 15 (Chem: Calcium Increaser (lbs)) 2 (Chem: Muriatic Acid (QT)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [41 empty] | TRUE | TRUE | [65 empty] | TRUE | [146 empty] | TRUE | [89 empty] | TRUE | [19 empty] | TRUE | [5 empty] | TRUE | [23 empty] | YES | used and left on | Under 2 Slacked |  |  | YES | [5 empty] | Issues with Heater | [5 empty] | Yes
Bruce Aldrich | Aldrich | Bruce | Opening Package - 4 Visits | 37 | 05/13/2025 11:04 am | 05/13/2025 11:41 am | Complete | The pool was opened and the system was started however we were unable to leave the system running due to a leak in the heaters heat exchanger. We also were unable to find the skimmer basket Ed and return fittings please leave these out for us and we will install them next visit, if you would like us to replace the heat exchanger please let us know. Water was pouring out of the heater | The pool was opened and the system was started however we were unable to leave the system running due to a leak in the heaters heat exchanger. We also were unable to find the skimmer basket Ed and return fittings please leave these out for us and we will install them next visit, if you would like us to replace the heat exchanger please let us know. | Noah | L | Jurnee | J | No Vacuum | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Can't See Floor | Green | 40 | 0 | 7.8 |  | 180 |  | 80 |  | 65 |  | 200 | Good | 0 |  | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE |  |  |  |  | TRUE | TRUE | FALSE |  | TRUE |  | TRUE |  | TRUE | [39 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [270 empty] | Chlorinator did not load | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [11 empty] | No
Joe Alutto | Alutto | Joe | Opening Package - 4 Visits | 49 | 05/13/2025 09:20 am | 05/13/2025 10:09 am | Complete | The pool has been opened and chemicals were added. I tested the heater during the visit today as well. We will be out soon to continue clearing the pool. Thank you | The pool has been opened and chemicals were added. I tested the heater during the visit today as well. We will be out soon to continue clearing the pool. Thank you | Alex | E | Brant | G | Vacuumed | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Barely See Floor | Green | 30 | 0 | 7.2 |  | 100 |  | 0 |  | 65 |  | 200 | Good | 13 | 12 (Chem: Granular Shock (lb)) 3 (Chem: Stabilizer (lbs)) 12 (Chem: Alkalinity (lbs)) 10 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [16 empty] | TRUE | [22 empty] | TRUE | [19 empty] | TRUE | [63 empty] | TRUE |  | TRUE | TRUE | [265 empty] | TRUE |  |  | TRUE |  | Chlorinator did not load | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [5 empty] | Yes - No Issues | [5 empty] | Yes
Eden Springs Apartment | Apartment | Eden Springs | Comm. Opening 1st visit | 25 | 05/13/2025 10:40 am | 05/13/2025 11:05 am | Complete | The pool cover was removed but we could not start the cover today. The lid gasket was not at the pump and could not find it anywhere. We will get another ordered if you cannot also find it. Thank you | The pool cover was removed but we could not start the cover today. The lid gasket was not at the pump and could not find it anywhere. We will get another ordered if you cannot also find it. Thank you | Alex | E | Brant | G |  |  |  |  | FALSE | [15 empty] | Low and needs more water |  |  | Ready
The Dalton & The Cody on Hamilton Apartments | Apartments | The Dalton & The Cody on Hamilton | Note | 5 | 05/13/2025 09:44 am | 05/13/2025 09:49 am | Complete | Note on Submission form: Sand filter pump needs to be checked |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Joe and Gina Benson | Benson | Joe and Gina | Hourly Labor | 6 | 05/13/2025 11:22 am | 05/13/2025 11:28 am | Complete | Pressure release valve was replaced and leak-free. Thank you! | Pressure release valve was replaced and leak-free. Thank you! | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [15 empty] | 1 (Pentair: Sta-Rite Pressure Release Valve) | Not Billed
Lee Bent | Bent | Lee | Note | 5 | 05/13/2025 01:49 pm | 05/13/2025 01:54 pm | Complete | Called Lee 2nd follow up left vm see if interested in signing up. Let us know if have questions |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Regina Britt | Britt | Regina | Opening Package - 4 Visits | 43 | 05/13/2025 11:44 am | 05/13/2025 12:27 pm | Complete | The pool has been opened and chemicals were adjusted as needed. There is a small drip at the pump from a plug. We will replace this next visit. I closed the skimmer in case the water level drops below this. We will continue to vacuum out the algae and balance the chemicals on the next visit. Please do not fill up the pool so we can retuck the liner at a later date. Thank you | The pool has been opened and chemicals were adjusted as needed. There is a small drip at the pump from a plug. We will replace this next visit. I closed the skimmer in case the water level drops below this. We will continue to vacuum out the algae and balance the chemicals on the next visit. Please do not fill up the pool so we can retuck the liner at a later date. Thank you | Alex | E | Brant | G | Vacuumed | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Can't See Floor | Green | 20 | 0 | 7.8 |  | 100 |  | 0 |  | 65 |  | 200 | Good | 12 | 8 (Chem: Granular Shock (lb)) 3 (Chem: Stabilizer (lbs)) 7 (Chem: Alkalinity (lbs)) 10 (Chem: Calcium Increaser (lbs)) 2 (Ladder Bumper) 2 (Ladder Ring) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE |  |  | TRUE |  | TRUE |  | TRUE | [16 empty] | TRUE | [22 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [265 empty] | TRUE |  |  | TRUE |  | no chlorinator | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [11 empty] | Yes
Rodd Carmean | Carmean | Rodd | Opening Visit Package 3 of 4 | 53 | 05/13/2025 10:14 am | 05/13/2025 11:07 am | Complete | Today we completed the next visit of your opening package. We vacuumed, brushed, and adjusted chemicals as needed. I did not see the cover, so I left the cover bag near the back door by one of the posts. Thank you, have a great day! | Today we completed the next visit of your opening package. We vacuumed, brushed, and adjusted chemicals as needed. I did not see the cover, so I left the cover bag near the back door by one of the posts. Thank you, have a great day! | David | M |  |  | Vacuumed | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | Crystal Clear | Blue | 90 | 2 | 8 |  | 200 | 0 | 0 | 2700 | 67 |  | 200 | Good | 30 | 0.5 (Chem: Granular Shock (lb)) 10 (Chem: Calcium Increaser (lbs)) 2 (Chem: Muriatic Acid (QT)) 1 (Chem: Salt Bag) | Not Billed |  |  |  | TRUE | [140 empty] | 40 | [32 empty] | TRUE | [72 empty] | TRUE | [302 empty] | TRUE | [19 empty] | TRUE | [29 empty] | NO | Did not use hose | 2 Slacked |  |  | YES | [5 empty] | Yes - No Issues | [5 empty] | Yes
Robin Cheek | Cheek | Robin | Opening Visit Package 3 of 4 | 32 | 05/13/2025 09:23 am | 05/13/2025 09:55 am | Complete | Today the pool was vacuumed and chemicals were tested and adjusted. Please add some water, up to 3/4 up the skimmer to ensure proper function of the skimmers. As discussed, after the fourth visit we will take the pool out of service mode so that you can control it through your phone. Thanks and we ll see you for your fourth and final visit! Main drain cover not screwed down | Today the pool was vacuumed and chemicals were tested and adjusted. Please add some water, up to 3/4 up the skimmer to ensure proper function of the skimmers. As discussed, after the fourth visit we will take the pool out of service mode so that you can control it through your phone. Thanks and we ll see you for your fourth and final visit! | Nate | D | Max | W | Vacuumed | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | Crystal Clear | Blue | 90 | 1 | 8.8 |  | 90 | 0 | 0 | 3200 | 65 |  | 200 | Low and needs more water | 20 | 10 (Chem: Calcium Increaser (lbs)) 2 (Chem: Muriatic Acid (QT)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | 60 | [26 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [236 empty] | TRUE | [49 empty] | NO | Did not use hose |  |  |  | YES | [5 empty] | Yes - No Issues |  |  |  |  | No Samples Today | Yes
Len Cistone | Cistone | Len | Service Call | 18 | 05/13/2025 10:30 am | 05/13/2025 10:48 am | Complete | Liner has been tucked back into the track. Thank you! | Liner has been tucked back into the track. Thank you! | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Alex Close | Close | Alex | Note | 5 | 05/13/2025 01:55 pm | 05/13/2025 02:00 pm | Complete | sent email with pictures: Attached is a picture. The pool just has a few creases in it that we would like to get out if possible. (Update) Sent to DJ could not play video |  | Sandy | Komisarek | [25 empty] | Unbillable | [618 empty] | Returning Sales
Andrew Cooper | Cooper | Andrew | Liner - Followup Visit | 1440 | 05/13/2025 08:30 am | 05/14/2025 08:30 am | Need to Return | We will return with leak detector and see why you are losing water ! | We will return with leak detector and see why you are losing water ! | Marcus | D |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  |  | 70 | 3 | 7.8 |  | 270 |  |  |  | 65 |  | 200 |  |  |  | Not Billed | [603 empty] | NO | Did not use hose | Under 2 Slacked |  | TRUE
Grace Couto | Couto | Grace | Note | 5 | 05/13/2025 09:06 am | 05/13/2025 09:11 am | Complete | Note on sign up form: I will need for you to install a new cartridge for the filter. I will appreciate also if you can test the water and tell me what can I do to make it clear. Thank you |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Dawnyel Donaldson | Donaldson | Dawnyel | Note | 5 | 05/13/2025 11:50 am | 05/13/2025 11:55 am | Complete | I need to cancel this appointment, getting a 2nd quote for the pump and once decision will restart opening. |  | Whitney | M |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Robin Eggers | Eggers | Robin | Service Call | 60 | 05/13/2025 08:02 am | 05/13/2025 09:02 am | Complete | The pool was started and chemicals were added. Please fill the pool up higher so we can vacuum out the dead algae. Thank you | The pool was started and chemicals were added. Please fill the pool up higher so we can vacuum out the dead algae. Thank you | Alex | E | Brant | G |  | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | Can't See Floor | Green | 20 | 0 | 7.6 |  | 30 |  | 0 |  | 65 |  | 200 | Low and needs more water | 22 | 12 (Chem: Granular Shock (lb)) 12 (Chem: Alkalinity (lbs)) 12 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE | [599 empty] | NO | Did not use hose | Under 2 Didnt Slack |  | TRUE | NO
Dana Farbacher | Farbacher | Dana | Opening Visit Package 3 of 4 | 54 | 05/13/2025 12:43 pm | 05/13/2025 01:37 pm | Complete | Today we completed the next visit of your opening package. We. Vacuumed and adjusted chemicals as needed to clear your pool. Thank you, have a great day! | Today we completed the next visit of your opening package. We. Vacuumed and adjusted chemicals as needed to clear your pool. Thank you, have a great day! | David | M |  |  | Vacuumed To Waste | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | Can't See Floor | Blue | 100 | 8 | 7.8 |  | 250 | 0 | 70 |  | 60 |  | 200 | Good | 18 | 32 (CMB: Clarifier(oz)) 34 (CMB: Metal Free (oz)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | 5 | [26 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [41 empty] | TRUE | TRUE | [65 empty] | TRUE | [146 empty] | TRUE | [89 empty] | TRUE | [25 empty] | TRUE | [23 empty] | NO | Did not use hose | 2 Slacked |  |  | YES | [5 empty] | Yes - No Issues |  |  |  |  | Labeled and Sample Ready to be Tested | Yes
Jeff Fichtel | Fichtel | Jeff | Note | 5 | 05/13/2025 01:30 pm | 05/13/2025 01:35 pm | Complete | Talk to Jeff don't need service anymore problem has somewhat fixed itself. But will contact us if needed in the future |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Molly Fields-Donley | Fields-Donley | Molly | Note | 5 | 05/13/2025 01:26 pm | 05/13/2025 01:31 pm | Complete | called to ask if we will be able to come out today. I checked appointment and he is scheduled for 9:45 PM. He said 9:00 PM would be too late to open the pool. if we could come before 7 PM today, it would be great otherwise, we can reschedule for another day. They are hoping to have the pool opened and ready before their pool party on the 24th. |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Emily Fijol | Fijol | Emily | Note | 5 | 05/13/2025 09:21 am | 05/13/2025 09:26 am | Complete | Emily called in would like to know when coming back to finish the plumbing on the new Filter installed on 5/8 - The plumbing was not complete waste water going out not connected to the system. The team that came out to finish the Opening on 5/9 said someone would be back to finish the project. She also stated already paid for this service does not want to be charged to finish the plumbing. |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Tim Frazier | Frazier | Tim | Note | 5 | 05/13/2025 10:04 am | 05/13/2025 10:09 am | Complete | Called 2nd follow up left vm to see if interested in signing up. Let us know if have questions |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Stacey Garn | Garn | Stacey | Opening Visit Package 3 of 4 | 36 | 05/13/2025 09:10 am | 05/13/2025 09:46 am | Complete | The pool was vacuumed and cleaned and chemicals were tested and adjusted. A phosphate treatment was added to help with the remaining cloudiness. Thank you, and see you soon for your next visit! | The pool was vacuumed and cleaned and chemicals were tested and adjusted. A phosphate treatment was added to help with the remaining cloudiness. Thank you, and see you soon for your next visit! | Luke | C | Victor | C | Vacuumed To Waste | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Barely See Floor | Blue | 70 | 0 | 7.6 |  | 250 | 1500 | 30 | 3200 | 70 |  | 200 | High and pumped down | 15 | 8 (Chem: Granular Shock (lb)) 10 (Chem: Calcium Increaser (lbs)) 5 (Chem: Stabilizer (lbs)) 36 (CMB: Pool Perfect Max - PooLife (oz)) | Not Billed |  |  |  | TRUE | [140 empty] | 10 | [105 empty] | TRUE | [212 empty] | TRUE | [115 empty] | TRUE | [12 empty] | Not Generating and Diagnosed |  | Resolved - Sanitizer |  | Cartridge - Did Not Need Cleaned | Not Clear - Phosphates - Photo of Test | [5 empty] | NO | Did not use hose | Under 2 Didnt Slack |  | TRUE | NO | [10 empty] | No Samples Today | Yes
Stacey Garn | Garn | Stacey | Note | 5 | 05/13/2025 11:40 am | 05/13/2025 11:45 am | Complete | Stacey called in on next Opening appointment please have someone check the Switch that operate the 2 sets of Waterfall and the light and bubble on Sun Deck does not seem to be working. Not sure it programed correctly she stated when closed the pool the actuator was replaced and not sure if set up correctly. |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
David and Kathy Gerlach | Gerlach | David and Kathy | Hourly Labor | 7 | 05/13/2025 09:00 am | 05/13/2025 09:07 am | Complete | Got light secured as best as possible. Thank you | Got light secured as best as possible. Thank you | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Jessica and Nick Gesue | Gesue | Jessica and Nick | Opening 1 Visit Only | 50 | 05/13/2025 08:03 am | 05/13/2025 08:53 am | Complete | The pool has been opened and we put in the skimmer basket and return valves. We also vacuumed out the auto-cover box and added chemicals accordingly. The auto cover and cover pump trip a breaker. You may need to reset the breaker for that as it likely tripped. Thank you and we hope to see you again soon! | The pool has been opened and we put in the skimmer basket and return valves. We also vacuumed out the auto-cover box and added chemicals accordingly. The auto cover and cover pump trip a breaker. You may need to reset the breaker for that as it likely tripped. Thank you and we hope to see you again soon! | Quentin | H | Avery | J | No Vacuum | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Crystal Clear | Blue | 40 | 0 | 7.2 |  | 330 |  | 70 |  | 65 |  | 200 | Good |  | 2 (Chem: Granular Shock (lb)) 4 (Chem: Alkalinity (lbs)) 1 (Service: Autocover Cleanout) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [39 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [270 empty] | Chlorinator did not load | [12 empty] | No Safety Cover |  | NO | Did not use hose |  |  |  | NO | [5 empty] | Yes - No Issues |  |  |  |  | No Samples Today | Yes
Bryan and Jena Gibbons | Gibbons | Bryan and Jena | Note | 5 | 05/13/2025 09:22 am | 05/13/2025 09:27 am | Complete | Email from Jena "We tried to open our pool yesterday, but have sprung a leak within our pump. " pictures attached |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Heather and Mickey Goldberg | Goldberg | Heather and Mickey | Note | 5 | 05/13/2025 12:21 pm | 05/13/2025 12:26 pm | Complete | Heather called would like to include cleaning for pool cover on next visit |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Mike Grimm | Grimm | Mike | Note | 5 | 05/13/2025 12:02 pm | 05/13/2025 12:07 pm | Complete | Uploaded photo |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Jake Guthrie | Guthrie | Jake | Liner - Chemical Adjustment | 34 | 05/13/2025 12:04 pm | 05/13/2025 12:38 pm | Complete | Today the system was started and chemicals were tested and adjusted. Thanks for choosing 614Pools! | Today the system was started and chemicals were tested and adjusted. Thanks for choosing 614Pools! | Nate | D | Max | W | No Vacuum | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Can't See Floor | Green | 60 | 0 | 6.8 |  | 70 |  | 0 |  | 65 |  | 200 | Low and needs more water | 18 | 8 (Chem: Alkalinity (lbs)) 10 (Chem: Calcium Increaser (lbs)) 12 (Chem: Granular Shock (lb)) | Not Billed |  | TRUE |  | TRUE | [140 empty] | 100 | [105 empty] | TRUE | [339 empty] | TRUE | Did not Reload |  |  | Unresolved |  | Sand - Did not Backwash | Not Clear - Did Not Test | [5 empty] | NO | Did not use hose | Under 2 Didnt Slack |  | TRUE | [12 empty] | Yes
Leanna Haas | Haas | Leanna | Cleaning - Recovery Service | 30 | 05/13/2025 09:53 am | 05/13/2025 10:23 am | Complete | The pool was brushed and chemicals were tested and adjusted. The system was also started again. It looks like you will need about 1-2 bags of salt added for the salt cell to work properly. We charge $14 a bag if you would like for us to bring some. Thank you, and see you soon for your next visit! System left in service mode | The pool was brushed and chemicals were tested and adjusted. The system was also started again. It looks like you will need about 1-2 bags of salt added for the salt cell to work properly. We charge $14 a bag if you would like for us to bring some. Thank you, and see you soon for your next visit! | Luke | C | Victor | C | No Vacuum | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Green | 50 | 4 | 7.8 |  | 250 | 0 | 0 | 2600 | 65 |  | 200 | Good | 20 | 3 (Chem: Granular Shock (lb)) 5 (Chem: Stabilizer (lbs)) 2 (Chem: Alkalinity (lbs)) | Not Billed |  |  |  | TRUE | [140 empty] | 0 | [105 empty] | TRUE | [339 empty] | TRUE |  | Not Generating and Diagnosed |  | Good Chlorine Reading |  | Cartridge - Did Not Need Cleaned | Clear - Did Not Test | [5 empty] | NO | Did not use hose | 2 Didnt Slack |  | TRUE | NO | [10 empty] | No Samples Today | Yes
Cindy Hackett | Hackett | Cindy | Note | 5 | 05/13/2025 01:46 pm | 05/13/2025 01:51 pm | Complete | Email sent in: As requested here are photos of my pump which was installed August 2023. Company who did original install is unresponsive. Spoke with Hayward and they listed you as an authorized repair service. Please let me know if you need any additional info. Thx!! |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Nancy Heinzerling | Heinzerling | Nancy | Note | 5 | 05/13/2025 11:22 am | 05/13/2025 11:27 am | Complete | Nancy left voicemail "got home and the breaker was blown, so I don't know.I didn't get a call or email or anything about today's, if they were able to do anythingor if we need to do something, or if the breaker was blown when he got here" |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Andrew Holt | Holt | Andrew | Hourly Labor | 40 | 05/13/2025 08:16 am | 05/13/2025 08:56 am | Complete | The water was drained a few inches and the affected area is now accessible for repair. Thank you, and have a great day! | The water was drained a few inches and the affected area is now accessible for repair. Thank you, and have a great day! | Luke | C | Victor | C |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  |  | 70 | 3 | 7.8 |  | 270 |  |  |  | 65 |  | 200 |  |  |  | Not Billed
Deborah Hummel | Hummel | Deborah | Opening Package - 4 Visits | 34 | 05/13/2025 11:49 am | 05/13/2025 12:23 pm | Complete | The pool was opened and the system was started and is up and running, the pool was vacuumed and chemicals were tested and adjusted as needed. See you soon for your next visit! | The pool was opened and the system was started and is up and running, the pool was vacuumed and chemicals were tested and adjusted as needed. See you soon for your next visit! | Noah | L | Jurnee | J | Vacuumed | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Crystal Clear | Green Hue | 120 | 0 | 8 | 2 | 400 | 0 | 150 | 0 | 65 |  | 0 | Good | 15 | 3 (Chem: Granular Shock (lb)) 1 (Chem: Muriatic Acid (QT)) | Not Billed |  |  |  | TRUE
Stuart Hunter | Hunter | Stuart | Opening Package - 4 Visits | 73 | 05/13/2025 08:12 am | 05/13/2025 09:25 am | Complete | The pool was opened and the system was started and is up and running, chemicals were tested and the pool was vacuumed and brushed. See you soon for your next visit, got error code from heater we will have to return for further diagnosis and repairs. See you soon for your next visit! | The pool was opened and the system was started and is up and running, chemicals were tested and the pool was vacuumed and brushed. See you soon for your next visit, got error code from heater we will have to return for further diagnosis and repairs. See you soon for your next visit! | Noah | L | Jurnee | J | Vacuumed | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Dull and or Cloudy | Green | 50 | 1 | 7.6 |  | 370 |  | 100 |  | 65 |  | 0 | High and pumped down | 18 | 8 (Chem: Granular Shock (lb)) 4 (Chem: Alkalinity (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [39 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [270 empty] | Chlorinator did not load | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [5 empty] | Issues with Heater | [5 empty] | Yes
Christine Johnson | Johnson | Christine | Opening Package - 4 Visits | 73 | 05/13/2025 12:04 pm | 05/13/2025 01:17 pm | Complete | The pool was vacuumed and chemicals were tested and adjusted. The system was started and the auto cover was cleaned. I was unable to fully get the deep end due to a large amount of water on the cover. Please make sure that s removed for the next visit. Thank you, and have a great day! | The pool was vacuumed and chemicals were tested and adjusted. The system was started and the auto cover was cleaned. I was unable to fully get the deep end due to a large amount of water on the cover. Please make sure that s removed for the next visit. Thank you, and have a great day! | Luke | C | Victor | C | Vacuumed | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Dull and or Cloudy | Blue | 80 | 0 | 7.8 |  | 350 |  | 0 |  | 65 |  | 200 | Good | 17 | 3 (Chem: Granular Shock (lb)) 5 (Chem: Stabilizer (lbs)) 1 (Service: Autocover Cleanout) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [33 empty] | TRUE |  |  |  |  | TRUE | TRUE |  |  | TRUE |  | TRUE | [41 empty] | TRUE | [19 empty] | TRUE | [337 empty] | no chlorinator | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [11 empty] | Yes
Amy Kerr | Kerr | Amy | Cleaning - Bi-weekly - Salt Pools | 33 | 05/13/2025 12:59 pm | 05/13/2025 01:32 pm | Complete | Today the pool was vacuumed and chemicals were tested and adjusted. Thanks and we ll see you next time! Breaker was tripped for cover when I arrived, it s the same box as the pump | Today the pool was vacuumed and chemicals were tested and adjusted. Thanks and we ll see you next time! | Nate | D | Max | W | Vacuumed | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Blue | 90 | 5 | 7.6 |  | 220 | 0 | 40 | 2900 | 65 |  | 200 | Low and needs more water | 13 | 1 (Chem: Salt Bag) 10 (Chem: Calcium Increaser (lbs)) 1 (Chem: Muriatic Acid (QT)) | Not Billed |  |  |  | TRUE | [140 empty] | 60 | [105 empty] | TRUE | [341 empty] | Generating |  | Good Chlorine Reading |  | Cartridge - Did Not Need Cleaned | Clear - Did Not Test | [5 empty] | NO | Did not use hose | 2 Didnt Slack |  | TRUE | [11 empty] | No Samples Today | Yes
Julie (Harmon) and Chris Kloth | Kloth | Julie (Harmon) and Chris | Opening Package - 4 Visits | 57 | 05/13/2025 09:36 am | 05/13/2025 10:33 am | Complete | The pool was opened and the system was started and is up and running, the pool was vacuumed and brushed. chemicals were tested and adjusted as needed. See you soon for your next visit! | The pool was opened and the system was started. The pool was also vacuumed and brushed. Your chemicals were tested and adjusted as needed. See you soon for your next visit! | Noah | L | Jurnee | J | Vacuumed |  | TRUE | TRUE | TRUE | FALSE |  | Dull and or Cloudy | Green | 50 | 0 | 7.6 |  | 200 | 0 | 80 | 0 | 65 |  | 200 | Good | 15 | 12 (Chem: Granular Shock (lb)) 6 (Chem: Alkalinity (lbs)) | Ready |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [39 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [270 empty] | Chlorinator did not load | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | NO | [5 empty] | Yes - No Issues | [5 empty] | Yes
Maggie Kuhn | Kuhn | Maggie | Opening Package - 4 Visits | 77 | 05/13/2025 11:51 am | 05/13/2025 01:08 pm | Complete | Today we opened the pool and removed the cover as well as installed the intake valves and skimmer basket. We also tested the chemicals and added accordingly along with starting the system. Thank you and we ll see you again soon! | Today we opened the pool and removed the cover as well as installed the intake valves and skimmer basket. We also tested the chemicals and added accordingly along with starting the system. Thank you and we ll see you again soon! | Quentin | H | Avery | J | Vacuumed | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Green | 60 | 0 | 7.8 |  | 450 |  | 20 |  | 65 |  | 200 | High and pumped down | 20 | 5 (Chem: Granular Shock (lb)) 3 (Chem: Stabilizer (lbs)) 1 (Pressure Gauge BAK) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [33 empty] | TRUE |  |  |  |  | TRUE | TRUE |  |  | TRUE |  | TRUE | [41 empty] | TRUE | [19 empty] | TRUE | [65 empty] | TRUE | [271 empty] | no chlorinator | [12 empty] | No Damage |  | YES | used and turned off |  |  |  | YES | [5 empty] | Issues with Heater | [5 empty] | Yes
Ken Lambert | Lambert | Ken | Liner - Quote | 26 | 05/13/2025 01:40 pm | 05/13/2025 02:06 pm | Complete | Received photos of pools and system. We will give a quote for service. Thank you | Received photos of pools and system. We will give a quote for service. Thank you | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Ryan Lauer | Lauer | Ryan | Opening Visit Package 3 of 4 | 46 | 05/13/2025 10:05 am | 05/13/2025 10:51 am | Complete | Today the pool was vacuumed and chemicals were tested and adjusted. If possible, please keep an eye on the skimmers, particularly the one close to the house. If these fill, please empty them on the days we don t come out, this will allow the skimmers to pull more of the debris that falls in and keep that debris off the bottom of the pool, which will help us immensely in getting your pool in great condition sooner. Thanks and we ll be back soon! | Today the pool was vacuumed and chemicals were tested and adjusted. If possible, please keep an eye on the skimmers, particularly the one close to the house. If these fill, please empty them on the days we don t come out, this will allow the skimmers to pull more of the debris that falls in and keep that debris off the bottom of the pool, which will help us immensely in getting your pool in great condition sooner. Thanks and we ll be back soon! | Nate | D | Max | W | Vacuumed | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | Can't See Floor | Blue | 60 | 0 | 7.2 |  | 120 | 0 | 0 |  | 65 |  | 200 | Good | 21 | 15 (Chem: Granular Shock (lb)) 10 (Chem: Calcium Increaser (lbs)) 4 (Chem: Alkalinity (lbs)) 3 (Chem: Stabilizer (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [146 empty] | TRUE | [89 empty] | TRUE | [25 empty] | TRUE | [23 empty] | NO | Did not use hose |  |  |  | YES | [5 empty] | Yes - No Issues | [5 empty] | Yes
Sheets Load | Load | Sheets | Admin-Load Sheets | 14 | 05/13/2025 06:46 am | 05/13/2025 07:00 am | Complete |  |  | Quentin | H |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [32 empty] | 165510 | [240 empty] | TRUE |  |  | TRUE |  |  |  | TRUE |  |  | TRUE | TRUE |  |  |  | TRUE | TRUE | [16 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | [129 empty] | TRUE
Sheets Load | Load | Sheets | Admin-Load Sheets | 38 | 05/13/2025 07:00 am | 05/13/2025 07:38 am | Complete |  |  | Alex | E |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [32 empty] | 120468 | [240 empty] | TRUE |  |  | TRUE |  |  |  | TRUE |  |  | TRUE | TRUE |  |  |  | TRUE | TRUE | [16 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | [129 empty] | TRUE
Sheets Load | Load | Sheets | Admin-Load Sheets | 36 | 05/13/2025 07:01 am | 05/13/2025 07:37 am | Complete |  |  | Luke | C |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [32 empty] | 74292 | [240 empty] | TRUE |  |  | TRUE |  |  |  | TRUE |  |  | TRUE | TRUE |  |  |  | TRUE | TRUE | [16 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | [129 empty] | TRUE
Sheets Load | Load | Sheets | Admin-Load Sheets | 16 | 05/13/2025 07:04 am | 05/13/2025 07:20 am | Complete | Silver Chevy |  | David | M |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [20 empty] | 0 | [11 empty] | 176039 | [240 empty] | TRUE |  | The usual | TRUE |  |  |  | TRUE |  |  | TRUE | TRUE |  |  |  | TRUE | TRUE |  | TRUE |  | TRUE | [12 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | [129 empty] | TRUE
Sheets Load | Load | Sheets | Admin-Load Sheets | 6 | 05/13/2025 07:15 am | 05/13/2025 07:21 am | Complete |  |  | Nate | D |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [20 empty] | 2 | [11 empty] | 122604 | [240 empty] | TRUE |  |  | TRUE |  |  |  | TRUE |  |  | TRUE | TRUE |  |  |  | TRUE | TRUE | [16 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | TRUE | [13 empty] | TRUE | TRUE | [129 empty] | TRUE
Michael Maynard | Maynard | Michael | Note | 5 | 05/13/2025 12:46 pm | 05/13/2025 12:51 pm | Complete | Called left vm see if interested in signing up. Let us know if have questions |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Barbara Mays | Mays | Barbara | Hourly Labor | 25 | 05/13/2025 11:55 am | 05/13/2025 12:20 pm | Complete | Plumbing redone from pump to filter. That leak is gone at the filter. Thank you | Plumbing redone from pump to filter. That leak is gone at the filter. Thank you | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [15 empty] | 2 (Plum: 1-1/2" Sweep 90) 3 (Plum: 1/2" Stick PVC) 1 (Plum: 1-1/2" Union) 1 (Plum: 1-1/2" Male Adapter) | Not Billed
Matthew Milcetich | Milcetich | Matthew | Opening Visit Package 4 of 4 | 32 | 05/13/2025 08:26 am | 05/13/2025 08:58 am | Complete | Today the pool was vacuumed and chemicals were tested and adjusted. Thanks and we ll see you soon to begin your cleaning package! | Today the pool was vacuumed and chemicals were tested and adjusted. Thanks and we ll see you soon to begin your cleaning package! | Nate | D | Max | W | Vacuumed To Waste | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | Crystal Clear | Blue | 70 | 4 | 7.8 |  | 120 |  | 20 |  | 65 |  | 200 | Low and needs more water | 20 | 10 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE | [173 empty] | TRUE | [29 empty] | FALSE | [406 empty] | Yes - No Issues | [5 empty] | Yes
Susan Miller | Miller | Susan | Opening - Follow-Up Visit | 5 | 05/13/2025 01:43 pm | 05/13/2025 01:48 pm | Complete | Today the handrails were installed. Thanks! | Today the handrails were installed. Thanks! | Nate | D | Max | W | No Vacuum | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | Crystal Clear | Blue | 70 | 10 | 7.2 |  | 400 | 0 | 100 |  | 65 |  | 200 | Good | 20 |  | Not Billed | [603 empty] | NO | Did not use hose | 2 Didnt Slack |  | TRUE
Brenda Munden | Munden | Brenda | Note | 5 | 05/13/2025 12:41 pm | 05/13/2025 12:46 pm | Complete | Talk to Brenda quote follow up - haven't had the chance to check on quote yet. Currently driving will check when she gets home and let us know if have questions |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Alise Murray | Murray | Alise | Cleaning - Bi-Weekly - Chlorine Pools | 24 | 05/13/2025 10:29 am | 05/13/2025 10:53 am | Complete | The pool was brushed and chemicals were tested and adjusted. The filter was also backwashed and the chlorinator was reloaded. Thank you, and have a great day! Pump speed and chlorinator increased | The pool was brushed and chemicals were tested and adjusted. The filter was also backwashed and the chlorinator was reloaded. Thank you, and have a great day! | Luke | C | Victor | C | No Vacuum | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Can't See Floor | Blue | 60 | 0 | 7 |  | 400 | 250 | 50 |  | 75 |  | 200 | Low and needs more water | 13 | 6 (Chem: Granular Shock (lb)) 5 (Chem: Chlorine Tabs (# of tabs)) 4 (Chem: Alkalinity (lbs)) 16 (CMB: Pool Perfect Max - PooLife (oz)) | Not Billed |  | TRUE |  | TRUE | [140 empty] | 2 | [105 empty] | TRUE | [339 empty] | TRUE | Reloaded |  |  | Resolved - Sanitizer |  | Sand - Backwash | Not Clear - Phosphates - Photo of Test | [5 empty] | NO | Did not use hose | Under 2 Didnt Slack |  | TRUE | NO | [10 empty] | No Samples Today | Yes
Lindsay and Jonathan Papas | Papas | Lindsay and Jonathan | Note | 5 | 05/13/2025 08:45 am | 05/13/2025 08:50 am | Complete | Note on submission form: Your company came yesterday and did a great job opening the pool. The heater is not completely turning on. It is a gas heater and it will not ignite. You do a great job opening the pool |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Lisa Parrett | Parrett | Lisa | Note | 5 | 05/13/2025 09:08 am | 05/13/2025 09:13 am | Complete | Email from Lisa "Here are pictures of the pool heater with model where the water is coming out the bottom. We just opened the pool Friday and this is what we found when heater was turned on. I will send videos in next email." |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Anne Perez | Perez | Anne | Note | 5 | 05/13/2025 11:30 am | 05/13/2025 11:35 am | Complete | DJ - Luois called would like to know what the cost will be to do the issue noted in the service email. |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Wilson Pleitez | Pleitez | Wilson | Liner - Quote | 1 | 05/13/2025 10:14 am | 05/13/2025 10:15 am | Complete | Stopped out today to get info for your liner quote. | Stopped out today to get info for your liner quote. | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Dawn Powell | Powell | Dawn | Opening Visit Package 3 of 4 | 57 | 05/13/2025 11:27 am | 05/13/2025 12:24 pm | Complete | Today we completed the next visit of your opening package. We vacuumed, brushed, skimmed, and adjusted chemicals as needed. Thank you, have a great day! | Today we completed the next visit of your opening package. We vacuumed, brushed, skimmed, and adjusted chemicals as needed. Thank you, have a great day! | David | M |  |  | Vacuumed To Waste | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | Crystal Clear | Blue | 80 | 10 | 7.8 |  | 300 | 0 | 60 | 2500 | 65 |  | 200 | High and pumped down | 12 | 1 (Chem: Muriatic Acid (QT)) 1 (Chem: Salt Bag) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | 25 | [26 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [146 empty] | TRUE | [89 empty] | TRUE | [25 empty] | TRUE | [23 empty] | NO | Did not use hose | 2 Slacked | [8 empty] | Yes - No Issues |  |  |  |  | No Samples Today | Yes
Romine Premier Pool | Premier Pool | Romine | Hourly Labor | 3 | 05/13/2025 11:35 am | 05/13/2025 11:38 am | Complete | Got photos of items that need quoted | Got photos of items that need quoted | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Stephani Price | Price | Stephani | Note | 5 | 05/13/2025 12:14 pm | 05/13/2025 12:19 pm | Complete | Linda left vm "We had a pool opening scheduled for today, but we could not get the pool cover to work yesterday.She was wondering if you have anybody you know that can service that.Envision Pools does, but they couldn't do it probably for a few weeks" |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Christina Queen | Queen | Christina | Liner - Quote | 12 | 05/13/2025 12:55 pm | 05/13/2025 01:07 pm | Complete | Stopped out today to get some info for your new liner. All-in-all, the liner can be replaced and I don t think we will have much trouble doing so, however, your equipment does need some attention. The electrical box will need to be tested and possibly upgraded by an electrician. The pump may also need to be replaced. It is recommended to replace the sand in the filter every 5-7 years, so I would recommend that as well. It did not appear that the skimmers were winterized, but we will not know of any possible underground leaks until after the system is running. With that said, if you are interested, we would be looking at the 2nd to 3rd week of June for getting your project completed. If you have any questions or would like to provide the deposit for the installation, please let us know! Thank you | Stopped out today to get some info for your new liner. All-in-all, the liner can be replaced and I don t think we will have much trouble doing so, however, your equipment does need some attention. The electrical box will need to be tested and possibly upgraded by an electrician. The pump may also need to be replaced. It is recommended to replace the sand in the filter every 5-7 years, so I would recommend that as well. It did not appear that the skimmers were winterized, but we will not know of any possible underground leaks until after the system is running. With that said, if you are interested, we would be looking at the 2nd to 3rd week of June for getting your project completed. If you have any questions or would like to provide the deposit for the installation, please let us know! Thank you | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Mandi Reese | Reese | Mandi | Note | 5 | 05/13/2025 07:52 am | 05/13/2025 07:57 am | Complete | Mandi sent pictures of heater that needs service |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Matt Reichardt | Reichardt | Matt | Note | 5 | 05/13/2025 10:08 am | 05/13/2025 10:13 am | Complete | Called Matt 2nd follow up |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Outbound Call
Cherie Richey | Richey | Cherie | Note | 5 | 05/13/2025 09:03 am | 05/13/2025 09:08 am | Complete | Note on Submission form: Hello I also asked for a quote on replacing my sand filter and a quote for upgrading to a cartridge Thanks |  | Sandy | Komisarek |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | New Sales
Mike Rodriguez | Rodriguez | Mike | Opening 1 Visit Only | 67 | 05/13/2025 09:15 am | 05/13/2025 10:22 am | Complete | Today we opened up the pool and installed the intake valves and skimmer baskets. We added chemicals accordingly as well as skimmed the pool. Thank you and we hope to see you again soon! Switched to 4 visit open | Today we opened up the pool and installed the intake valves and skimmer baskets. We added chemicals accordingly as well as skimmed the pool. Thank you and we hope to see you again soon! | Quentin | H | Avery | J | No Vacuum | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Can't See Floor | Green | 20 | 0 | 7.2 |  | 50 |  | 0 |  | 65 |  | 200 | Good |  | 15 (Chem: Granular Shock (lb)) 15 (Chem: Alkalinity (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  | FALSE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [39 empty] | TRUE | [19 empty] | TRUE | [66 empty] | TRUE | [268 empty] | TRUE |  | no chlorinator | [12 empty] | No Damage |  | NO | Did not use hose | [15 empty] | Yes
Ian Schwind | Schwind | Ian | Service Call | 6 | 05/13/2025 09:55 am | 05/13/2025 10:01 am | Follow Up with Customer | Received info for pump so we can properly quote. Quote Variable Speed and single speed (new pump).. not sure on what to quote for the motor | Received info for pump so we can properly quote. | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Kenneth Scott | Scott | Kenneth | Opening 1 Visit Only | 45 | 05/13/2025 01:16 pm | 05/13/2025 02:01 pm | Complete | Today we opened the pool and stored the cover. We also installed the intake valve and skimmer basket. We tested the chemical and added them accordingly as well as brushed and skimmed the pool. Thank you and we hope to see you again soon! | Today we opened the pool and stored the cover. We also installed the intake valve and skimmer basket. We tested the chemical and added them accordingly as well as brushed and skimmed the pool. Thank you and we hope to see you again soon! | Quentin | H | Avery | J | No Vacuum | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Blue | 40 | 0 | 7.6 |  | 250 |  | 0 |  | 65 |  | 200 | Good | 14 | 3 (Chem: Stabilizer (lbs)) 4 (Chem: Alkalinity (lbs)) 1 (Chem: Liquid Shock (G)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [33 empty] | TRUE | TRUE |  |  |  | TRUE | TRUE |  |  | TRUE |  | TRUE | [41 empty] | TRUE | [19 empty] | TRUE | [337 empty] | no chlorinator | [12 empty] | No Damage |  | NO | Did not use hose |  |  |  | YES | [5 empty] | Issues with Heater | [5 empty] | Yes
Stacy Scudder | Scudder | Stacy | Labor - Followup Visit | 34 | 05/13/2025 12:44 pm | 05/13/2025 01:18 pm | Complete | The same was installed and the system is set to filter. | The same was installed and the system is set to filter. | Noah | L | Jurnee | J |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  |  | 70 | 3 | 7.8 |  | 270 |  |  |  | 65 |  | 200 |  | 15 | 5 (Chem: Sand Bag (50lbs)) | Not Billed
Chloe Siens-Nunez | Siens-Nunez | Chloe | Opening Package - 4 Visits | 15 | 05/13/2025 11:15 am | 05/13/2025 11:30 am | Complete | The pool could not be opened today due to the gate being locked. We tried calling and knocking on the door but did not get an answer. We will reschedule your opening for a different day. Thank you! | The pool could not be opened today due to the gate being locked. We tried calling and knocking on the door but did not get an answer. We will reschedule your opening for a different day. Thank you! | Alex | E | Brant | G |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed | [209 empty] | TRUE |  |  | TRUE | Locked Gate | TRUE | [257 empty] | TRUE | [144 empty] | Did Not Contact
Jason and Evelyn Smith | Smith | Jason and Evelyn | Opening Visit Package 3 of 4 | 21 | 05/13/2025 01:30 pm | 05/13/2025 01:51 pm | Complete | Pool was vacuumed and chemicals were tested and adjusted. The filter was backwashed and the chlorinator was reloaded. Thank you, and have a great day! | Pool was vacuumed and chemicals were tested and adjusted. The filter was backwashed and the chlorinator was reloaded. Thank you, and have a great day! | Luke | C | Victor | C | Vacuumed | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | Crystal Clear | Blue | 80 | 10 | 7.8 |  | 300 |  | 120 |  | 75 |  | 200 | Good | 23 | 5 (Chem: Chlorine Tabs (# of tabs)) | Not Billed |  | TRUE |  | TRUE | [140 empty] | 5 | [105 empty] | TRUE | [339 empty] | TRUE | Did not Reload |  |  | Good Chlorine Reading |  | Sand - Backwash | Clear - No Phosphates | [5 empty] | NO | Did not use hose | 2 Didnt Slack |  | TRUE | NO | [11 empty] | Yes
Danny Stowe | Stowe | Danny | Hourly Labor | 14 | 05/13/2025 09:30 am | 05/13/2025 09:44 am | Complete | Stopped out today. The crack in the filter is larger than what we had hoped, however, we put some product on the crack and have the system off. If you can turn the filter handle back to filter in about 24 hours (make sure the product is hard) and test the filter. It is recommended to have a new filter installed, however. If the product does not work, a new filter will be needed and we can send a quote for this. | Stopped out today. The crack in the filter is larger than what we had hoped, however, we put some product on the crack and have the system off. If you can turn the filter handle back to filter in about 24 hours (make sure the product is hard) and test the filter. It is recommended to have a new filter installed, however. If the product does not work, a new filter will be needed and we can send a quote for this. | DJ | K |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Not Billed
Kevin Thompson | Thompson | Kevin | Opening Package - 4 Visits | 41 | 05/13/2025 12:40 pm | 05/13/2025 01:21 pm | Complete | The pool was opened and chemicals were added to kill off the algae. We could not find the skimmer basket. If you need us to bring a new one please let us know. Thank you and see you soon. Skimmer closed Holy carpet algae | The pool was opened and chemicals were added to kill off the algae. We could not find the skimmer basket. If you need us to bring a new one please let us know. Thank you and see you soon. | Alex | E | Brant | G | No Vacuum | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | Can't See Floor | Green | 20 | 0 | 6.8 |  | 50 |  | 0 |  | 65 |  | 200 | Good | 15 | 12 (Chem: Granular Shock (lb)) 12 (Chem: Alkalinity (lbs)) 12 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE | TRUE |  | FALSE |  | TRUE | TRUE | TRUE | TRUE | TRUE |  | TRUE |  | TRUE | [16 empty] | TRUE | [22 empty] | TRUE | [19 empty] | TRUE | [63 empty] | FALSE |  | TRUE | TRUE | [265 empty] | TRUE |  |  | TRUE |  | Chlorinator did not load | [12 empty] | No Damage |  | YES | Did not use hose |  |  |  | NO | [11 empty] | Yes
Traci Ulrey | Ulrey | Traci | Note | 5 | 05/13/2025 07:23 am | 05/13/2025 07:28 am | Complete | Note on form submission "It looks like sand is being pushed into our pool from our sand filter. I was hoping someone could come out and look at it. We replaced the sand last year and the laterals were not cracked or broken. We also replaced the multiport valve. We have a 16x32 pool with 15,000 gallons. Thank you!" |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Rob Vargo | Vargo | Rob | Opening Visit Package 2 of 4 | 24 | 05/13/2025 07:49 am | 05/13/2025 08:13 am | Complete | On today s visit the pool was vacuumed and chemicals were tested and adjusted, including a high chlorine treatment. Thanks and we ll see you for your next visit! | On today s visit the pool was vacuumed and chemicals were tested and adjusted, including a high chlorine treatment. Thanks and we ll see you for your next visit! | Nate | D | Max | W | Vacuumed | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | Can't See Floor | Green | 40 | 0 | 7.2 |  | 270 | 0 | 70 |  | 65 |  | 200 | Good | 18 | 9 (Chem: Granular Shock (lb)) 8 (Chem: Alkalinity (lbs)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | [27 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | TRUE | TRUE | TRUE | [20 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [286 empty] | NO | Did not use hose |  |  | TRUE | YES | [5 empty] | Yes - No Issues | [5 empty] | Yes
Ross and Kate Wagner | Wagner | Ross and Kate | Note | 5 | 05/13/2025 12:52 pm | 05/13/2025 12:57 pm | Complete | Called Ross left vm Follow up on getting opening and cleaning back on schedule |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Returning Sales
Jennifer West | West | Jennifer | Opening Package - 4 Visits | 53 | 05/13/2025 10:57 am | 05/13/2025 11:50 am | Complete | The pool was brushed and chemicals were tested and adjusted. The safety cover was removed and the system was started. Thank you, and see you soon for your next visit! | The pool was brushed and chemicals were tested and adjusted. The safety cover was removed and the system was started. Thank you, and see you soon for your next visit! | Luke | C | Victor | C | No Vacuum | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | Can't See Floor | Green | 40 | 0 | 7.8 |  | 100 |  | 0 |  | 65 |  | 200 | Low and needs more water | 15 | 12 (Chem: Granular Shock (lb)) 10 (Chem: Alkalinity (lbs)) 10 (Chem: Calcium Increaser (lbs)) | Not Billed |  |  |  | TRUE
Rob and Johanna Williams | Williams | Rob and Johanna | Opening Visit Package 3 of 4 | 57 | 05/13/2025 10:58 am | 05/13/2025 11:55 am | Complete | Today the pool was vacuumed and chemicals were tested and adjusted. We ll be back soon for your fourth opening visit! Needs 4-5 bags of salt | Today the pool was vacuumed and chemicals were tested and adjusted. We ll be back soon for your fourth opening visit! | Nate | D | Max | W | Vacuumed To Waste | TRUE | TRUE | FALSE | TRUE | TRUE | FALSE | Dull and or Cloudy | Blue | 70 | 5 | 7.4 |  | 270 | 0 | 50 | 2700 | 65 |  | 200 | High and pumped down | 18 | 6 (Chem: Granular Shock (lb)) | Not Billed |  |  |  | TRUE | [121 empty] | TRUE | [17 empty] | TRUE | 50 | [26 empty] | TRUE | [5 empty] | TRUE |  |  | TRUE |  |  | TRUE | [23 empty] | TRUE | [42 empty] | TRUE | [65 empty] | TRUE | [146 empty] | TRUE | [89 empty] | TRUE | [25 empty] | TRUE | [23 empty] | NO | Did not use hose |  |  |  | YES | [5 empty] | Yes - No Issues |  |  |  |  | No Samples Today | Yes
Richard Worthington | Worthington | Richard | Note | 5 | 05/13/2025 08:15 am | 05/13/2025 08:20 am | Complete | pictures of saltwater cell he would like installed |  | Gleah | R |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [16 empty] | Unbillable | [618 empty] | Other
Jeannie Zox | Zox | Jeannie | Admin-Water Testing | 2 | 05/13/2025 07:02 am | 05/13/2025 07:04 am | Complete |  |  | Quentin | H |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | Can't See Floor | Blue | 110 | 1 | 7.2 |  | 530 | 300 | 80 | 4000 | 65 | 0.48 | 200 |  |  |  | Not Billed | [565 empty] | Compared and Close | Yes | Copper, iron | Break chlorine wall and metal out | TRUE | TRUE